## Sheet1
Sr.No. | PROCEDURE | REMARK
1 | Keep hammer at testing station
2 | Barcode scan or feed barcode manually
3 | Connect sensor knobs to Parker Controller
4 | Go online to Parker controller by Sensowin Software
Start powerpack to activate the hammer
5 | Start Online measurement in Software
6 | Start Recording (Set cycle in software to stop recording at 5 minutes)
7 | Stop recording after test complete
8 | Save data
9 | From Sensowin Read Parker controller device memory | By operator
10 | From device memory open latest recorded data | By operator
11 | Graph/ Trend will open
12 | From File Menu of Sensowin Software Export Table in .csv format to harddisk of PC at particular location | By operator
13 | Import exported file in UI software | By operator
14 | Process Parameter values read from Actual Value reading from table
15 | Recipe was selected as per model
16 | OK Ranges were defined in recipe for Process Parameters
17 | All parameters are compared with there low & high range
18 | Ok / Nok declared
19 | Report generate against Serial number
Note:
1 | System should have log all tested tools.
2 | if tool is rejected then, there should be a log to enter rework status and retesting tab
3 | No tools should be tested twicw unless it is for reowrk tool.
4 | OK tool to be tested more than once only with approval of admi.